FREETARGET

Application Note: Suis Target Plate Installation

# REQUIRED

- Pistol target plate

- 2 x 5mm x 50mm machine screws

- 2x 3D printed alignment pins

# ASSEMBLY

- Remove the pistol plate and remove the 3D printed paper holder

- At the locations shown in Figure 1, insert the alignment pegs

Figure 1: Component Location

- Insert the alignment pegs as shown in Figure 2.  The pegs will be slightly tight but will install with a light tap.

- From the back, hold the peg in place with the grommet as shown in Figure 3.  The grommet will have a tight fit and may need to be pushed into place with a light hammer

| Figure 2: Aligment Peg | Figure 3: Retention Grommet |
| --- | --- |

- Reattach the plate to the target using the East and West bolts, same as a regular target

- From the rear, insert the 50mm bolts through the sensor mount.  When finished about 10mm should protrude.

# INSTALLING TARGETS

The target is assembled onto the target plate as shown in Figure 4.

|  |  | Target Plate Suis target backer Witness paper Fresh Suis target Magnets or tape to hold it in place |
| --- | --- | --- |

Figure 4: Target Assembly